General Equipment Safety Notice
The equipment purchased by you from Preiser Scientific, Inc. (“Preiser”) is intended for use only by trained, qualified personnel in a laboratory, industrial, or testing environment. All users of the equipment are responsible for reading and understanding the applicable operating manual, safety instructions, warnings, labels, and procedures before installing, operating, cleaning, servicing, or maintaining any equipment.
Such important safety instructions, warnings, labels and procedures include, but are not limited to: (1) personal protective equipment (“PPE”) must be worn at all times, including, as applicable, safety glasses or face protection, gloves, protective clothing, closed-toe safety shoes, hearing protection, respiratory protection, and any additional PPE required by  internal guidelines and governmental regulations; (2) equipment may involve electrical power, high temperatures, hot surfaces, moving parts, pinch points, heavy components, sharp edges, dust, fumes, vapors, chemicals, or other hazards depending on the product and application; (3) the operator of the equipment must not be tired, distracted, impaired, intoxicated, or under the influence of alcohol, recreational drugs, prescription medication, or over-the-counter medication that may affect judgment, coordination, alertness, reaction time, or ability to operate machinery safely; (4) the operator of the equipment  must follow all applicable OSHA, MSHA, ASTM, local, state, federal, and facility-specific safety requirements; (5) the equipment should be installed on a suitable surface, connected to the proper electrical service, operated within stated specifications, and used only for its intended purpose; (6) any guards, covers, interlocks, ventilation systems, fume hoods, grounding, emergency shutoffs, and other safety devices must be used where applicable and must not be removed, bypassed, or modified; (7) equipment should not be operated if it appears damaged, improperly installed, malfunctioning, unusually noisy, overheating, sparking, leaking, or otherwise unsafe; (8)  before servicing, cleaning, moving, adjusting or inspecting equipment disconnect power and follow proper lockout/tagout procedures unless the manual specifically instructs otherwise; and (9) maintenance and repairs of equipment should be performed only by qualified personnel using appropriate replacement parts.
You are responsible for insuring that your employees are properly trained and supervised, and that you have established workplace safety procedures. The purchaser of the equipment is solely responsible for the safe installation, operation and maintenance of the equipment, the training and use of PPE, the selection of employees using the equipment, and the compliance with all applicable laws, regulations, standards, and site-specific requirements.
The equipment purchased by you is designed and manufactured strictly for its intended use. Any misuse, modification, or alteration of the equipment not expressly approved in writing by Preiser voids all warranties if applicable. Preiser assumes no responsibility or liability for any personal injury, property damage, or consequential losses arising from the misuse, improper installation, or operation of the equipment. TO THE FULLEST EXTENT PERMITTED BY APPLICABLE LAW, PREISER HEREBY EXPRESSLY DISCLAIMS ALL WARRANTIES OF ANY KIND, EITHER EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE, unless otherwise provided in writing to the purchaser. 

IN NO EVENT SHALL PREISER, ITS DIRECTORS, OFFICERS, OR EMPLOYEES BE LIABLE TO THE PURCHASER OR ANY THIRD PARTY FOR ANY INDIRECT, INCIDENTAL, SPECIAL, CONSEQUENTIAL, OR PUNITIVE DAMAGES ARISING OUT OF OR IN CONNECTION WITH THE USE OR INABILITY TO USE THE EQUIPMENT.

By purchasing and using this equipment, the purchaser hereby acknowledges that they engage in a potentially hazardous activity involving machinery. The purchaser expressly and voluntarily assumes all risks—known and unknown—associated with its operation. The purchaser agrees to indemnify and hold harmless Preiser from any claims, lawsuits, or liabilities brought by third parties related to the use or operation of the equipment
